|  | Research Networking Programmes |
| --- | --- |

Science Meeting – Scientific Report

The scientific report (WORD or PDF file - maximum of seven A4 pages) should be submitted online within two months of the event. It will be published on the ESF website.

Proposal Title: The Intercomparison of Snow Grain Size Workshop Davos 2014, 9-14 March 2014, Davos, Switzerland

Application Reference N°: 5329

- Summary (up to one page)

The goal of this workshop was to compare all currently used direct and indirect methods of measuring snow grain size, including modern as well as traditional methods. A further objective was to develop protocols to establish future international standards. The measurements were conducted with standardized snow in the controlled conditions of the cold laboratories of the WSL Institute for Snow and Avalanche Research SLF and on a stratigraphically homogenous, undisturbed, tennis court in St. Moritz, Switzerland. The following instruments were used for the intercomparisons:

- micro-tomography (at SLF, and in preparation at Meteo-France CEN)

- BET adsorption methods (3 groups)

- Casting methods (2 groups)

- Spectroscopic methods (using 1030 nm absorption feature) (3 groups)

- Near-infrared and SWIR photography (3 groups)

- Direct optical reflectance methods at different wavelength (4 groups)

- High-resolution penetrometry (e.g. SnowMicroPen) (1 group)

- Traditional grain size (4 groups)

The raw data are stored in the database SwissExperiment and will be published after September 2014, after the evaluation workshop in Reading.

- Description of the scientific content of and discussions at the event (up to four pages)

The final program consisted of two full days of cold laboratory measurements and two full days of field measurements. Due to an unusually warm and snow-poor winter in the Northern part of the Swiss Alps, the field site had to be relocated to St. Moritz. The high air temperature and intense solar radiation made it also necessary to work at night and in the early morning, such that effects of melting snow and heating of instruments could be minimized.

In the cold laboratory, 13 horizontally homogeneous blocks of ca. 35 x 35 x 35 cm3 were measured. Some blocks were taken from the outside, some blocks of the same dimension were sieved and stored at -5°C for 2 months (rounded grains). In addition, blocks of depth hoar and new snow are prepared. All lab measurements with 20 instruments were performed successively on the same block. The design resulted in very good spatial correlations between all measurements. The arrangement of measurements is shown as top view for the "primary block" in Fig. 1.

Fig. 1 Experimental design on the snow blocks (not all instruments shown).

The sequence of measurements on a block was as follows:

- first 4 SMP measurements are performed to check the homogeneity of the snow and to delineate homogenous layers,

- walls were smoothed for the contact probe measurements,

- all measurements, which need sampling (or destroyed the surrounding snow), were performed,

- samples  were directly measured using micro-CT and cast using Di-ethyl phthalate or Chloro-naphthalene.

During the first and second lab day, all instruments were working as expected. 6 blocks of snow were measured during the first day, 7 blocks in the second day.

Field measurements were done on a undisturbed tennis court in St Moritz (latitude 46.475694, longitude 9.822385). All 23 field instruments and measurements were performed in closely spaced snow pits to a depth of 140 cm (depending on the instrument, some measurements to 125 cm depth). Therefore complete well comparable sets under field conditions could be achieved. The traditional snow profile is shown in Fig. 2.

Data storage and availability: all raw data are stored on the swiss-exeriment database (http://tinyurl.com/SGSW2014). All data will be accessible under creative common license CC BY after evaluation of the data by the participants. The envisaged date is 1 September 2014.

Fig. 2 Traditional snow profile from the test site in St. Moritz, at the day of the measurements.

- Assessment of the results and impact of the event on the future directions of the field (up to two pages)

The successful completion of the first step of the intercomparison, the measurements, is an important milestone. In the final session, the participants agreed to evaluate the raw data (level 0) to processed data until end of April 2014. Level 2 data (depending on the instrument, e.g. micro-CT), are due end of May 2014 (laboratory measurements) and end of June 2014 for field measurements.

To improve and simplify comparisons between different instruments, specific surface area (SSA) will be reported in units of [m2 kg-1], the surface of the snowpack will be the reference (0 cm), the unit for snow depth is [cm], with a positive sign.

The workshop in Reading, 4th August 2014 – 5th August 2014 will be by invitation only, with priority to the participants of the Davos Workshop.

Final publication of the evaluated data and recommendations is planned in a special issue of "The Cryosphere". The publication process will start after the Reading workshop (for details on the workshop  http://store.rdg.ac/UoR-SnowGrainSizeIntercomparisonResultsWorkshop).

4) 	Annexes 4a) and 4b): Programme of the meeting and full list of speakers and participants (see following pages)

Annex 4a: Programme of the meeting

Sunday, 2014-03-09

1400: start of workshop

1400: Registration

1430: Introductions, tour of the laboratories, safety instructions, set-up of lab instruments

1545: Discussion measurement schedule

Afterwards you are invited to join us for drinks in Restaurant Montana (5min walk from SLF).

Monday, 2014-03-10

0830: start laboratory measurements

approx. 0830: departure Peter Toose, microwave radiometer to St. Moritz

1800: packing of instruments needed for field measurements

Tuesday, 2014-03-11

0200: departure first group to tennis court St. Moritz (13 persons)

0400: start field measurements first group

0400: departure second group to tennis court St. Moritz (9 persons)

0600: start field measurements second group

twilight: 06:14  sunrise 06:44

0800: restaurant opens

approx 1000 first group return to Davos

approx 1200 second group return to Davos

Wednesday, 2014-03-11

0200: departure first group to tennis court St. Moritz (13 persons)

0400: start field measurements first group

0400: departure second group to tennis court St. Moritz (9 persons)

0600: start field measurements second group

approx 1000 first group return to Davos

approx 1200 second group return to Davos, instruments packed on trailer bound for Davos

1400: set-up instruments in cold laboratory

Thursday, 2014-03-1

0830: start laboratory measurements

approx. 0830: departure Peter Toose, pick-up microwave radiometer in St. Moritz

1900: conference dinner

Friday, 2014-03-1

0830: packing, clean-up, data transfer

1000: wrap-up discussion, preparations for evaluation

1200: closing of the workshop

Annex 4b: Full list of speakers and participants

Participating persons and instruments

| First name | Last name | Institute | Instrument(s) | Instrument class | Key | Field | Lab |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Teruo | Aoki | Meteorological Research Institute, Tsukuba, Japan | nir photography | nir | NIP-TA | 1 |  |
|  |  | Meteorological Research Institute, Tsukuba, Japan | short wave photography | short | SWIR-TA | 1 |  |
|  |  | Meteorological Research Institute, Tsukuba, Japan | aoki grain size | trad | AGS-TA | 1 |  |
| Laurent | Arnaud | LGGE Observatoire, Grenoble, France | ASSSAP | refl | ASP-LA | 1 | 1 |
| Florent | Dominé | Takuvik International Laboratory, Université Laval and CNRS, Québec, Canada | DUFISSS | refl | DUF-FD | 1 | 1 |
| Charles | Fierz | SLF Davos, Switzerland | Crystal screen, magnifying lense | trad | TRAD-CF | 1 | 1 |
| Akihiro | Hachikubo | Environmental and Energy Resources Research Center, Kitami Institute of Technology, Kitami, Japan | gas adsorption | bet | BET-AH |  | 1 |
| Eric | Haengel | University of Michigan, US | ASQ |  | ASQ-EH | 1 | ? |
| Henna-Reetta | Hannula | Finnish Meteorological Institute, Arctic Research, Sodankylä, Finland | gridded plate, macrophotography | trad | GRI-HH | 1 | 1 |
| Matthias | Jaggi | SLF Davos, Switzerland | gas adsorption | bet | BET-MJ |  | 1 |
| Panu | Lahtinen | Finnish Meteorological Institute (Helsinki, Finland) | SPAM-stick | spectro | SPAM-PL | 1 |  |
| Alexandre | Langlois | CARTEL, Université de Sherbrooke, Sherbrooke, Québec, Canada | IRIS | refl | IRIS-AL | 1 | 1 |
| Leena | Leppänen | Finnish Meteorological Institute, Arctic Research, Sodankylä, Finland | ICECUBE | refl | ICE-LL | 1 | 1 |
| Margret | Matzl | SLF Davos, Switzerland | computer tomography | tomo | MCT-MM |  | 1 |
|  |  | SLF Davos, Switzerland | casting phthalate | cast | DEP-MM | 1 | 1 |
| Jean-Charles | Gallet | CNRM-GAME/CEN, Grenoble, France | gas adsorption | bet | BET-SM |  | 1 |
| Roberta | Pirazzini | Finnish Meteorological Institute (Helsinki, Finland) | macro photography grain size | trad | MACP-RP | 1 | 1 |
|  |  | Finnish Meteorological Institute (Helsinki, Finland) | ASD FieldSpec3 Spectroradiometer | spectro | ASD-RP | 1 |  |
| Martin | Proksch | SLF Davos, Switzerland | snow micro pen | smp | SMP-MP | 1 | 1 |
| Alain | Royer | CARTEL, Université de Sherbrooke, Sherbrooke, Québec, Canada | SWIR | short | SWIR-AR | 1 | ? |
| Nick | Rutter | Department of Geography, Northumbria University, Newcastle Upon Tyne, UK | Density measurement | nir | NIP-NR | 1 |  |
| Martin | Schneebeli | SLF Davos, Switzerland | translucent and nir photography | nir | TRA-MS | 1 |  |
| Adam | Schneider | University of Michigan, US | NIR Emitting Reflectance Dome (NERD)/Radiation | ? | NERD-AS | 1 |  |
| Dominik | Schneider | Institute of Arctic and Alpine Research, University of Colorado, Boulder, US | In-Situ Contact Spectroscopy Probe | spectro | SSP-DS | 1 |  |
| Sara McKenzie | Skiles | UCLA, Snow Optics Lab @ JPL, US | contact probe | spectro | FCP-MKS | 1 | 1 |
| Peter | Toose | Climate Research Division, Environment Canada | microwave radiometer | mwrad | SBR-PT | 1 |  |
| Fabian | Wolfsperger | SLF Davos, Switzerland | snow reflectivity at 950nm | refl | INF-FW | 1 | 1 |
| Nick | Rutter | Department of Geography, Northumbria University, Newcastle Upon Tyne, UK | Density measurement | nir |  |  |  |
| Ludovic | Brucker | NASA, US | Photographer |  |  |  |  |
| Koni | Steffen | WSL |  |  |  |  |  |
| Ghislain | Picard | LGGE / CNRS |  |  |  |  |  |